jk"Vªh; izkS|ksfxdh laLFkku] fetksje

NATIONAL INSTITUTE OF TECHNOLOGY, MIZORAM

(An Institute of National Importance under Ministry of HRD, Govt. of India)

Chaltlang, Aizawl, Mizoram – 796012

TeleFax: 0389-2341699 / 0389-2341236 / 0389-2341774                 Email: nit_mizoram@nitmz.ac.in

NIT-MZ/D–5/CE/2015/6123

Date: 15th JULY, 2015

NOTICE INVITING TENDER (NIT)

FOR SUPPLY & INSTALLATION OF EQUIPMENTS FOR SURVEYING LAB OF CIVIL ENGINEERING DEPARTMENT AT NIT MIZORAM, AIZAWL

The Director, NIT Mizoram invites quotation for supply & Installation of Equipments as per details at ANNEXURE-IV, in Two Bids to reach the undersigned on or before.

| Sl No. | Reference No. | Items | Qty | EMD (Rs.) in the form of DD | Tender Document Fee (Rs.) in the form of DD only. |
| --- | --- | --- | --- | --- | --- |
| 01. |  | Supply & Installation of Equipments for Surveying Laboratory to be installed at NIT, Mizoram, Aizawl | One Package | Rs. 1,50,000.00 | 1,000.00 |

- Last date & Time for Submission	:    17-8-2015     (3:00 pm)

- Date/Time for Opening of Tech. Bids	:    17-8-2015     (3:00 pm)

- Date of notifying the Technically qualified bidders in the website :   01-09-2015

- Evaluation of Financial bids  for Technically qualified bidders:      04-09-2015

Venue of Bid Opening at NIT, MIZORAM, AIZAWL

BID INSTRUCTION:

01.  Quotations will have to be submitted in TWO Bids. The address of the firm submitting the quotation and the Officer to whom the quotation is addressed must appear distinctly on sealed covers. Further, on sealed cover, the following are to be written:

QUOTATION FOR SUPPLY & INSTALLATION OF EQUIPMENTS  FOR  SURVEYING LABORATORY OF CIVIL  ENGINEERING DEPARTMENT AT NIT MIZORAM, AIZAWL,    NIQ REF NO________________ DATE:

02.  Submission of Compliance Certificate: Duly filled and signed Compliance Certificates (as per formats at Annexure I( A & B) are must with the Technical bid.

03. Bid not transferable: The bid documents are not transferable and the seal and signature of the authorized official of the firm’s must appear on all the papers and envelopes submitted

QUALIFICATION REQUIREMENTS

1. The Bidder should be a Original Equipment Manufacturer (OEM) Or a firm of reputation having sufficient expertise and experience in the subject tender with sound warranty / service support capability and authorization from Manufacturer/Distributor.

2. The Bidder has to Quote for all the items in Surveying  Laboratory , Bidders who do not Quote for all the items are subject to be disqualified.

NIT TERMS & CONDITIONS:

- Rates: Rates quoted in the Price Bid should be on DOOR DELIVERY NIT Mizoram basis, as per details below:

| Sl. No. | Particulars | Rate |
| --- | --- | --- |
| I | Basic Price (per unit) |  |
|  | Total |  |
|  | Taxes(pl. give break up) |  |
|  | Grand Total for the item on door delivery at NIT Mizoram |  |

Bidders shall indicate their rates in clear/visible figures as well as in words and shall not alter/overwrite/make cutting in the quotation. In case of a mismatch, the rates written in words will prevail.

02. Validity of Quotation: Quoted rates must be valid for 90 days from the date of quotation.

03. Warranty:  The quoted equipment and components must be warranted for a minimum of 1(One)

Year after satisfactory installation.

04. Literature a must: All the quotations must be supported by the printed technical leaflet/literature and the specifications mentioned in the quotation must be reflected/ supported by such printed technical leaflet/literature. The model and specifications quoted should invariably be highlighted in the leaflet/literature for easy reference.

05. After Sales Service: Vendors should clearly state the available nearest after sales service facilities in the region, without which their offers will be rejected.

06. Dealership Certificate:  Dealers or Agents quoting on behalf of Manufacturer/Distributor must enclose valid dealership certificate.

07.  Earnest Money:

Refundable earnest money deposit (EMD) of the Quoted Value through demand draft drawn in favour of “The Director, National Institute of Technology Mizoram”, payable at Aizawl, will have to accompany the technical Bid. The EMD of unsuccessful bidders shall be returned after award of contract. EMD of the successful bidder will be released on submission of the Performance Bank Guarantee. Offers received without Earnest Money or valid Certificate shall be summarily rejected.

08.  Performance Bank Guarantee (PBG): In case of items with order value of Rupees five lakhs (INR 5,00,000/-) and above, the successful bidder shall furnish an unconditional PBG (as per format at Annexure II) for 5%  of the Purchase Order value from a scheduled Bank of India, after receiving the purchase order. Where the PBG is obtained by a foreign bank, it shall be got confirmed by a Schedule Indian bank and shall be governed by Indian Laws and be subject to the jurisdiction of courts at Aizawl. The PBG will be kept till the Warranty Period and The PBG shall guarantee that,

(a) The Vendor guarantees satisfactory operation of the Equipment & components against poor workmanship, bad quality of materials used, faulty designs and poor performance.

(b) The Vendor shall, at his own cost, rectify the defects/replace the items supplied, for defects identified during the period of guarantee.

(c) This guarantee shall be operative from the date of installation till 120 days after the warranty period.

09.  Delivery:

a) Time Limit: Maximum within 12 Weeks from the date of issue of this purchase order.

b) Safe Delivery: All aspects of safe delivery shall be the exclusive responsibility of the vendor. At the destination site, the package will be opened only in the presence of NIT user/representative and vendor's representative. The intact condition of the package and the seal/indicators for not being tempered with, shall form the basis for certifying the receipt in good condition.

c)  Insurance: The supplier is to establish ‘All Risk Transit Insurance’ coverage till door delivery at NIT Mizoram.

###### d)  Part Delivery: Acceptance of part delivery shall be a prerogative of the institute.

e) Penalty for delay in delivery: The date of delivery should be strictly adhered to otherwise the Director, NIT Mizoram reserves the right not to accept delivery in part or full.

10. Genuine Pricing: Vendor is to ensure that quoted price for the particular item is not more than the price quoted to any other customer in India, particularly to IITs/NITs and other Government Organization.

11. Conditional tenders not acceptable:  All the terms and conditions mentioned herein must be strictly adhered to by all the vendors. Conditional tenders shall not be accepted on any ground and shall be rejected straightway. Conditions mentioned in the tender bids submitted by vendors will not be binding on NIT Mizoram.

12. Road Permit: NIT, Mizoram will provide Road Permit to the Vendors of outside Mizoram on demand.

13. VAT deduction at source: In case of supply within Mizoram, VAT deduction at source, as per Order/ notification of the Govt. of Mizoram will be applicable.

14. Late and delayed tender: Late and delayed tender will not be considered. In case any unscheduled holiday occurs on the prescribed closing/opening date the next working day shall be the prescribed date of closing/opening.

15.  Payment:

(a) 100% payment within 30(thirty) days from date of delivery, Satisfactory installation, acceptance and Training.

16.  Payment for Imported Goods: By an irrevocable letter of Credit at CIF/CIP Kolkata value negotiable through any overseas branch of State Bank of India/any Schedule Bank of India.

Note: Please note LOC will not be opened unless and until Letter of Acknowledgement in original is received at NIT, Aizawl, Mizoram, directly from the principal (Even in case of firms having subsidiary office in India).

17. ADDITIONAL TERM FOR IMPORTED GOODS

Following term besides the fore mentioned terms will be applicable in case of foreign purchases:

Rates: Prices quoted must be for destination including freight and insurance charges inclusive of free delivery up to the door of department/centre NIT, Mizoram premises, as per details below:

| Sl. No. | Particulars | Rate |
| --- | --- | --- |
| a |  |  |
| I | Basic Price (per unit) |  |
| II | Total |  |
| III | Custom Duty (Approximate) |  |
| IV | Grand Total for the item on door delivery at NIT Mizoram |  |

18.   Free Maintenance & Service for 20 Years: An agreement is to be executed between the Institute & the Manufacturer/Distributor/Dealer for providing Free Maintenance & Service for 20 Years after expiry of the Warranty Period of the equipment by the Manufacturer/ Distributor/ Dealer (Preferably from the Manufacturer) within 30 Days from the day of Complain. The cost of the Spare parts required for the service and maintenance will be paid by the Institute along with the To & Fro charges (The cheapest mode of Travel).

19.  Enquiry during the course of evaluation not allowed: No enquiry from the bidder(s) shall be entertained during the course of evaluation of the tender till final decision is conveyed to the successful bidder(s). However, the Purchase Committee or its authorized representative may make enquiries/seek clarification from the bidders. In such a case, the bidder must extend full co-operation.  The bidders may also be asked to arrange demonstration of the offered items, in a short period of notice.

20. The acceptance of the quotation will rest solely with the Director, NIT Mizoram, who in the interest of the Institute is not bound to accept the lowest quotation and reserves the right to himself to reject or partially accept any or all the quotations received without assigning any reasons.

21. Force Majeure:

If the performance of the obligation of either party is rendered commercially impossible by any of the events hereafter mentioned that party shall be under no obligation to perform the agreement under order after giving notice of 15 days from the date of such an event in writing to the other party, and the events referred to are as follows:

- Any law, statute or ordinance, order action or regulations of the Government of India,

- Any kind of natural disaster, and

- Strikes, acts of the Public enemy, war, insurrections, riots, lockouts, sabotage.

22.  Applicable Law:

(a) The contract shall be governed by the laws and procedures established by Govt. of India and subject to exclusive jurisdiction of Competent Court and Forum in Aizawl / India only.

(b)  Any dispute arising out of this purchase shall be referred to the Director NIT Mizoram, and if either of the parties hereto is dissatisfied with  the decision, the dispute shall be referred to the decision of an Arbitrator, who should be acceptable to both the parties, to be appointed by the Director of the Institute. The decision of such Arbitrator shall be final and binding on both the parties.

Encl.: ANNEXURE-I, ANNEXURE-II, ANNEXURE-III & ANNEXURE-IV

Sd/-

DY. REGISTRAR (F&A)

NATIONAL INSTITUTE OF TECHNOLOGY, MIZORAM

Annexure -I

- COMPLIANCE CERTIFICATE FOR NIT TERMS

(To be enclosed in the Technical bid)

| Sl. No. | NIT Terms and Conditions | Yes/No |
| --- | --- | --- |
| 01 | Rate quoted as per instruction |  |
| 02 | AMC rate after warranty provided |  |
| 03 | Validity of quoted rate for 90 days agreed |  |
| 04 | EMD submitted (appropriate certificate enclosed) |  |
| 05 | PBG term agreed |  |
| 06 | Payment term agreed |  |
| 07 | Delivery terms agreed |  |
| 08 | Warranty period agreed |  |
| 09 | Literature: Printed Literature provided |  |
| 10 | Dealership / distributorship certificate (in case of dealers/agents) provided |  |
| 11 | Sales Service: address of after Sales Service centre in India (for imported goods)/ in the region provided |  |
| 12 | Applicable law terms agreed |  |

Signature with Seal:..…………….

Vendor: M/s………………………

- COMPLIANCE CERTIFICATE FOR SPECIFICATIONS

(One for each item must to be enclosed in the Technical bid)

| Item Sl. No. |
| --- |
| Specifications as per Annexure-IV | Quoted Item Specs.* | Complied (Yes/No) |

Signature with Seal:..…………….

Vendor: M/s………………………

* Vendor must quote the parameter specification of the quoted product in this column and not just copy the specification from the tender call document. Failure to do so will lead to rejection of the tender.

##### Annexure –II

##### PERFORMANCE BANK GUARANTEE

To:

The Director

National Institute of Technology

Aizawl-796012, Mizoram

WHEREAS ................................................................... (Name of Supplier)

hereinafter called "the Supplier" has undertaken, in pursuance of Contract No................. dated,......... 20... to supply...................... ................................................. (Description of Goods and Services) hereinafter called "the order".

AND WHEREAS it has been stipulated by you in the said order that the Supplier shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with the Supplier's performance obligations in accordance with the order.

AND WHEREAS we have agreed to give the Supplier a Guarantee:

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier, up to a total of ...................................   ........................................ (Amount of the Guarantee in Words and Figures) and we undertake to pay you, upon your first written demand declaring the Supplier to be in default under the order and without cavil or argument, any sum or sums within the limit of ................................ (Amount of Guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the ........day of...................20......

Signature and Seal of Guarantors

................................

................................

................................

Date......................20....

Address:........................

................................

................................

All correspondence with reference to this guarantee shall be made at the following address:

National Institute of Technology Mizoram

Annexure -III

MANUFACTURERS'/ DISTRIBUTOR’S AUTHORIZATION FORM

No. 								Dated __________

The Director

National Institute of Technology

Aizawl-796012, Mizoram

Dear Sir:

We…………………………………………………………………. who are established and reputable

Manufacturers/distributors of ……………………………………………………………………having factories/office at--------------------------------------------------------------------------------------------

--------------------------------------------------------------------------------------------------------

(address of factory/office) do hereby certify that…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………(Name of the Authorised Dealer)is our authorized dealer to quote against your tender enquiry no ……………………………………………………………………………………………………….. ,Last Date of Submission  is:

Yours faithfully,

(Name)

(Name of Manufacturer/Distributor)

Annexure-IV

TECHNICAL SPECIFICATIONS FOR SURVEY LAB(CIVIL), NIT MIZORAM

| SL No | Description of Items | Qty |
| --- | --- | --- |
| 1. | Prismatic compass 4”dia in fiber case with telescopic aluminum stand in case | 10 |
| 2. | Ranging rod telescopic in case(metallic or wooden) 2 metre 3 metre | 10 10 |
| 3. | Measuring tapes cloth in case 30 meter | 10 |
| 4. | DIGITAL PLANIMETER Technical Specifications : Type : Roller type with computing function. Display : Liquid crystal, 8-digit figures, 10symbols. Converting options : Unit and scale value. Measuring range : Vertical width:325mm and Horizontal rotating length: 30M. Accuracy ±: 0.2%. Power supply : Built-in NiCD battery. Operational time : Approx 20hrs. or more. Charging time : Approx. 15hrs. The minimum following accessories should be supplied with the Instrument. AC adaptor and plastic case | 04 |
| 5. | Chains Engineers chain | 10 |
| 6. | Leveling Staff(6m, may be metallic, say aluminium) | 10 |
| 7. | Dumpy level 12”IF in wooden box with telescopic aluminum stand in case | 10 |
| 8. | Plane table fitted with non magnetic metel plate with wooden stand with accessories such as Alidade in wooden box 18’’, plumb bob, U fork, magnet, treble tube etc. | 10 |
| 9. | Transit venires theodolite 20 sec accuracy in wooden box with accessories and telescopic aluminum stand with manual | 06 |
| 10. | AUTOMATIC LEVEL Technical Specifications : Magnification : 24X. Image : Erect. Objective Aperture : 32mm. Resolving Power : 4.0”. Minimum Focus Distance: 0.3m. Leveling Accuracy Standard deviation for 1Km double-run leveling 2.00mm. Compensator: Magnetic damping system. Working Range : +/- 15’ Setting Accuracy : 0.5” Sensitivity of Circular Level: 10’/2mm. Water Protection : IPX6 or better. Aluminum Telescopic Tripod. : 1no. Aluminum telescopic staff 5mtrs. length : 2nos. The minimum following accessories should be supplied with the Instrument. Lens cap, Plumb bob, Vinyl cover, Tool kit, carrying case and operation manual. | 02 |
| 11. | Electronic Digital Level Technical Specifications : Magnification : 28x. Image : Erect. Resolving Power : 3.5”. Objective Aperture : 36mm. Minimum Focus distance : 1.5m. Height Accuracy Standard Deviation for 1Km double run leveling: 1.5mm. Electronic measurement range : 100m. Data Storage : 2000 sets of points or more. Data download : USB cable.(From instrument to computer) Power Supply: Operating voltage : 7.2V DC. Rechargeable Battery : Lithium-ion Rechargeable type. Operating Time. : 8 hrs or more. Battery charger : Quick type. Compensator: Magnetic damping system. Working range : More than 15’. Sensitivity of Circular Level : 10’/2mm. Display : LCD type. 1. Aluminum Telescopic Tripod: 1no. Aluminium BAR-code staffs (5 mtrs. Length): 2nos. 3. USB Data transfer cable. 1no. The minimum following accessories should be supplied with the instrument. Dust cover, Tool kit, Carrying case and all relevant manuals. | 02 |
| 12. | LASELASER ELECTRONIC DIGITAL THEODOLITE Technical Specifications : Laser pointer: Type: co axial laser pointer with beam focussing capability Laser specification: Class 2, wavelength: 633nm, Maximum output: 0.6mW Laser range: daylight-50m(164’) Indoor(700 lux)-200m(650’) Angular Measurement: Angular Accuracy : 5” or better. Least count : 1” or better. Telescope : Magnification : 30X. Objective aperture : 45mm. Image : Erect. Minimum Focus : 0.9m. Optical Plummet : Mag 3x. Display : Both faces Accessories: Aluminium/Wooden Telescopic Tripod : 1no. The minimum following accessories should also be supplied with the Instrument. LR6/AAbatteries(X4), Lens cap, Plumb bob, Tool kit, Shoulder strap, carrying case and all relevant manuals. | 02 |
| 13. | ELECTRONIC TOTAL STATION FOR 1" ACCURACY, Telescope: Magnification : 30X or better Image : Erect Angular Measurement: Angular Accuracy : 1” or better Least count : 1” or better Distance Measurement: Distance Range with single Prism : 4 Kms or better (Under normal conditions) Laser output in prism mode : Class1 (Safe for human eye) Distance Accuracy in prism mode : 2mm 2ppm or better General: Display : Dual face Alpha-numeric keyboard (Identical Display) Trigger Key: For quick measurement. Guide Light : For speeding up Setting Out tasks. Compensator : Type: Dual Axis / Range: 6’ or more. Battery : Rechargeable battery (Operational time approx. 35 hrs.): 1no. Quick charger : 1no. Dust & Water Proof Protection : IP66 or better. Optical Plummet : 3x or better Weight with handle & battery : 5 kgs or more. Memory Management System with multiple Data Interfaces as: Internal Memory : Approx 10,000 points or more. Plug in memory device : USB flash memory Accessories: Aluminium Telescopic Tripod. : 1no Single Prism assembly consisting of : 1no Range Pole, Prism, Target plate, Spirit Bubble, Tripod all in carrying cases. Data communication software : 1no The minimum following application software should be loaded in the instrument. Topography, Resection, (Setting out of co-ordinates, Line, arcs), Area Calculation, etc | 02 |
| 14. | Dual Frequency HIGH – ACCURACY Digital Global Navigation Satellite System receiver Technical Specifications : Channels : 200 or more Antenna : Multi Frequency Integrated Geodetic Antenna Satellite Tracking : Capable of tracking GPS & GLONASS L1 C/A Code, L1/L2 P- Code, atleast 4 SBAS Accuracy : Static : Horizontal : ±( 3 mm + 0.5 ppm) Vertical : ±( 6 mm + 1.0 ppm) or better Kinematic : Horizontal: ± ( 10 mm + 1 ppm) Vertical : ± ( 20 mm + 1 ppm) or better Real Time Kinematic : Horizontal: ± ( 10 mm + 1 ppm) Vertical : ± ( 20 mm + 1 ppm) or better DGPS Acccuracy : <0.5m RTK Compatibility : License free RTK for 300 meters or more Position Update Rate : upto 10Hz Memory Internal: 2GB or more Communication Port : RS232,USB, Wireless connectivity Power : Battery / Batteries for continuous data logging - 12hrs or more. Dust & Water Protection :IP66 or better Pole Drop : 2 m or better Operating Temperature : -20 to +60°C Storage Temperature : -30 to +65°C Humidity : 100%, Condensing Controller Specifications Operating System : Windows Mobile 6.0 or higher Display : VGA touch screen day light readable Display Keyboard : Virtual Keyboard Processor : 500 MHZ or better Internal Memory : 256 MB or more Communication : Bluetooth, Serial Port, USB Port, Wi Fi , SD Card Dust & Water Protection : IP 66 or better Control On Board Software Survey Style Configuration : Allow configuration of Static, PPK, RTK etc. Co-Ordinate System : Should have Datum and Projection support. Color Graphical Support : The software should have color graphical support to visualize work. Feature Coding : Should Support featuring coding COGO : Should Support Cogo Functionality . Stake Out : Should Support Graphical stakeout , not only for points but for Lines & DTM as well. Display : Date, Time, Memory Status, Coordinates, Satellites view, Signal to noice ratio, DOP,HDOP, VDOP Input : Field input of file name, antenna height and type, point ID, code , Layers and Notes. Background Image : Should be able to accept backgorund image. Post Processing Software Operating System : Designed to run on Microsoft Windows XP, Vista and Window 7 operating system. Base Line Processing : Should be capable of Baseline processing of GPS & GLONASS raw data for all Static, Fast Static, Kinematic Stop & Go, Kinematic Continuous measuring modes. Should able to handle RTK data as well. Feature Coding : Should Support feature Coding COGO : Should have COGO Functionality Network Adjustment : Should be able to perform Network Adjustment using Least Square adjustment principle Import Data :Should be able to import the RINEX data. Should also be able to import data & precise ephemeris data via internet ( IGS data) Datum Conversion : Facility to compute parameters for datum conversion Export : Should be capable to export data in RINEX format, GIS as well as in CAD format | 01 |
| 15. | Chaining pin | 2 set |
| 16. | Wooden pegs | 1 set |
| 17. | GPS navigator system, along with the GPS Asia Map Technical Specification: Unit dimensions, WxHxD: 2.9" x 5.7" x 1.4" (7.48 x 14.42 x 3.64 cm) Display size, WxH: 2"W x 3.5"H (5.06 x 8.93 cm); 4" diag (10.2 cm) Display resolution, WxH: 272 x 480 pixels Display type: bright, transflective 65k color TFT, dual-orientation touchscreen; sunlight readable Weight: 10.2 oz (289 g) with included lithium-ion battery pack; 11.7 oz (333 g) with 3 AA batteries (not included) Battery:rechargeable lithium-ion (included) or 3 AA batteries (not included); NiMH or Lithium recommended Battery life: up to 16 hours (lithium-ion); up to 22 hours (AA batteries) Waterproof: Yes (IPX7) High-sensitivity receiver: Yes Interface: high-speed USB and NMEA 0183 compatible Maps & Memory: Basemap: Yes Ability to add maps: Yes Built-in memory: 3.0 GB Accepts data cards: microSD™ card (not included) Waypoints/favorites/locations: 4000 Routes: 200 Track log: 10,000 points, 200 saved tracks Important Features: Automatic routing (turn by turn routing on roads) Electronic compass Touchscreen Barometric altimeter Camera Geocaching-friendly Custom maps compatible Photo navigation (navigate to geotagged photos) Hunt/fish calendar Sun and moon information Tide tables Area calculation Custom POIs (ability to add additional points of interest) Unit-to-unit transfer (shares data wirelessly with similar units) Picture viewer Garmin Connect™ compatible (online community where you analyze, categorize and share data) | 10 |
| 18. | BINOCULAR TECHNICAL SPECIFICATIONS : Magnification (x): 7 Objective diameter (mm): 50 Angular field of view (Real/degree): 7.3 Angular field of view (Apparent/degree): 48.1 Field of view at 1,000m (m): 128 Exit pupil (mm): 7.1 Relative brightness: 50.4 Eye relief (mm): 15.0 Close focusing distance (m): 24.5 Length (mm): 217 Width (mm): 210 Depth (mm): 80 Weight (g): 1,360 Interpupillary distance adjustment (mm): 56-72 Type: Porro | 5 |
| 19. | Laser Distance Meter, 60 metres Range:0.05 to 0 meters Measuring accuracy:±3 mm Laser type: 635 nm, <1mW Battery: AAA(2X1.5v) Battery life: Upto 5,000 measurements Historical storage: 20 Temperature:-10°C~+50°C | 10 |